| Part-turn -- Enduser Requirement |  |
| --- | --- |
| Valve type: ☐Ball valve /☐Butterfly valve /☐Damper/ others |  |
| Duty type: ☐On-Off/ ☐Modulating |  |
| Electrical Requirement |  |
| Voltage supply | ☐AC 220V/ ☐AC380, Other: ~ AC V (50/60Hz) |
| Control box configuration | ☐Integrated (Standard)/ ☐Split |
| Panel mounting angle | Normal (Standard) |
| Flameproof: | ☐Non-flameproof (Standard)/ ☐Flameproof: (ATEX Ex db II CT4) |
| Wire Connection | Terminal plate |
| Cable entries size | 2-M32*1.5 & 1-M25*1.5 |
| Protection grade | ☐IP67(Standard) / ☐IP68 |
| Space heater： | ☐None (Standard) /☐Space heater。 |
| Electric control mode | ☐On-Off, relay capacity: DC18-33V ☐On-Off, 4~20mA position feedback ☐PROFIBUS DP/V2 ☐4~20mA Input & output ☐MODBUS ☐Large capacity relay: ~AC220V8A |
| Mechanical data |  |
| Switch-off torque | N*M |
| Modulating torque | N*M |
| Full travel time | S |
| Connection type | ☐Direct/ ☐Lever, with foot plate mounting |
| Mounting flange | ☐Standard/ other: |
| Hand-wheel | Standard |
| Other Requirements |  |
|  | ☐Field debugging, Estimate: days |
|  | Others: |